## Tenant Inspection form
Existing Conditions |  |  | Project: | [6 empty] | Unit square feet
Tenant Space |  |  | Unit number: | [6 empty] | Number of bedrooms/bathrooms | /
Measure Opportunity | Location | Diagnostic results (CFM, CFM50, ACH50) | Quantity | Watts | Occupancy Sensor present | Tons/Capcity (Btu/h)/GPM | Tank Size in Gallons | Water Heater kw | Efficiency Rating and Units (SEER,EER,EF,etc.) | Manufactuer/ Model Number | age or yr manufactured | Hours per Day * | Family Size *
* INSPECTOR SHOULD ASK TENANT FOR THIS INFORMATION |  | Auditor: |  |  |  | Date:

## Common space Inspection form
Existing Conditions |  |  | Project: | [6 empty] | Common area space
Common Space
Measure Opportunity | Location | Diagnostic results (CFM, CFM50, ACH50) | Quantity | Watts | Occupancy Sensor Present | Tons/Capcity (Btu/h)/GPM | Tank Size in Gallons | Water Heater kw | Efficiency Rating and Units (SEER,EER,EF,etc.) | Manufactuer/ Model Number | Age or yr manufactured | Hours per Day * | Family Size *
| Auditor: |  |  |  | Date:

## Instructions
1 | These forms should be used to collect data for the existing conditions for both tenant units and common areas inspected. These specific forms do not have to be used as long as the existing condition detail of the space is collected in a single location and readily available upon DHCD request. The specific data can then be used to extrapolate existing conditions for all unit types in a summary chart.
1 a | These forms can also be used for QC purposes to confirm installed measures.
2 | One "TENANT" form should be used for each tenant space inspected. This will help identify the existing numbers and types of equipment, lighting, etc. within a tenat unit type. SEE Example Tenant Form TAB
3 | "Common" Space form can be used for all common areas inspected as long as each specific existing condition is identified with a specific location and follows the same usage patterns. SEE Example Common Form TAB
4 | Individual forms are not required to be submitted when the energy audit report is submitted to the owner, however this specific information might be helpful to the owner to identify current conditions. Conversly, the owner/management might be able to provide a list of existing conditions for major appliance and upgrades to assist in identifying this data.
5 | Existing condition forms may be requested by DHCD if/when an owner submits a project for DHCD financing.
6 | The audit report must include a cumulative existing conditions summary chart for each existing condition: separate conditions based on utility metering (Tenant/Owner). This might require averaging for conditions such as number of light bulbs based on: type, watts, and hours of use, refrigerators having varying ages +/- 5 year grouping, HVAC (sizing and/or efficiency), etc. based on individual findings
7 | The summary chart must identify cumulative existing conditions by the unique condition such as size, efficiency, type, etc.
8 | As identified in the Auditor Application Form, the energy audit report must clearly identify both the existing condition and the recommended "improvement" for the existing condition for all ECMs. This can be accomplished through completing the DHCD SIR calculator.
9 | Efficiency values used for modeling purposes (including derating values) should be identified within the audit report. The methodology and source documentation (Building America best practices volume XX, BPI, Etc) used for derating should also be identified.
10 | Lighting should be individually identified by type, watts, operational time and/or other unique differences.
11 | Data presented in the example forms is intended for reference only to provide examples of how data should be collected. The examples do not represent all possible conditions. The actual existing conditions of components, assemblies, appliances, etc. at the time of the inspection must be documented.

## Example Tenant Form
Existing Conditions | Project: | Example: values should not be relied upon |  |  |  | Unit square feet | 590 |  |  | Number of Occupants | 2
Tenant Space | Unit number: | 312 |  |  |  | Volume | 4425 |  |  | Number of bedrooms/bathrooms | 1 / 2
Measure Opportunity | Location | Diagnostic results (CFM, CFM50, ACH50) | Quantity / # of bulbs | Watts/bulb | Occupancy Sensor present | Tons/Capcity (Btu/h)/GPM | Tank Size in Gallons | Water Heater kw | Efficiency Rating and Units (SEER,EER,EF,etc.) | Manufactuer/ Model NumberType | age or yr manufactured | Hours per Day *
Windows/ aluminum double hung/double pane | bedroom/living |  | 2 | [5 empty] | SHGC .40/U .42 | Anderson/ thermal break | 1996
gas furnace/split air conditioner | Mechanical closet/exterior porch |  | 1 |  |  | 45,000 btu/1.5 ton |  |  | 80%/12 SEER |  | 1995
Thermostat/programmable | living rm wall |  | 1
Water Heater - electric | closet |  | 1 |  |  |  | 40 | 3500 | 0.92 | Select/Es6 40 DSL | 2000
Faucet | bathroom |  | 1 |  |  | 1.5 | [5 empty] | 0.25
Faucet | kitchen |  | 1 |  |  | 2.2 | [5 empty] | 1
Showerhead | bathroom |  | 1 |  |  | 1.5 | [5 empty] | 0.5
Refrigerator | kitchen |  | 1 |  |  | 15 cf |  |  | 450 kw/yr | Kenmore | 2001
Doors/ vinyl sliding glass | living room |  | 1 | [5 empty] | SHGC .38/U .40 |  | 2009
Blower door | main entry | 1,200 cfm50
incandescent | bedroom |  | 2 | 60 | n | [6 empty] | 2
incandescent | Living room |  | 1 | 75 | n | [6 empty] | 4
CFL | bathroom |  | 3 | 13 | n | [6 empty] | 1
T-12 linear fluorescent | kitchen |  | 2 | 35 | [7 empty] | 3
insulation/fiberglass batt | exterior wall |  | 5.5 | [5 empty] | R-19
insulation/blown cellulose | attic |  | 13 | [5 empty] | R-49
* INSPECTOR SHOULD ASK TENANT FOR THIS INFORMATION

## Example Common Form
Existing Conditions |  |  | Project: | [6 empty] | Common area space |  | All
Common Space
Measure Opportunity | Location | Diagnostic results (CFM, CFM50, ACH50) | Quantity | Watts | Occupancy or other Sensor Present | Tons/Capcity (Btu/h)/GPM | Tank Size in Gallons | Water Heater kw | Efficiency Rating and Units (SEER,EER,EF,etc.) | Manufactuer/ Model Number | Age or yr manufactured | Hours per Day *
Windows/ Vinyl single hung | all |  | 300 | [5 empty] | SHGC .40 / U .40 |  | 2002
A/C | leasing office, cafeteria |  | 2 |  | n | 2 |  |  | 14 SEER | NCPE 418 1010 | 2003
Thermostat/ programmable | 1st/2nd floor hall |  | 2 |  | n
Thermostat/ non-programmable | cafeteria, 3rd floor hall |  | 2 |  | n
Lavatory Faucet | bathroom |  | 2 |  |  | 2.2 | [5 empty] | 2
Doors/ metal | exterior |  | 4 | [5 empty] | R-7
Doors/ metal glass | exterior |  | 1 | [5 empty] | SHGC .45/ U .48
48" T-12 linear fluorescent | All hallways |  | 20 | 35 | n | [6 empty] | 24
48" T-12 linear fluorescent | leasing office |  | 2 | 32 | occupancy | [6 empty] | 6
48" T-12 linear fluorescent | trash rooms |  | 6 | 35 | n | [6 empty] | 24
incandescent | Elevator lobby |  | 4 | 75 | n | [6 empty] | 24
incandescent | Entry canopy |  | 6 | 100 | photo | [6 empty] | 8
Insulation fiberglass batt | exterior wall |  | 5.5 | [5 empty] | R-19
Insulation blown fiberglass | Attic |  | 6 | [5 empty] | R-19