## Funding Calculator
Project Name |  |  |  |  | Electric Utility Territory
Project Address |  |  |  |  | Electric Utility Metering Structure
Date of Application |  |  |  |  | Gas Utility Territory
Project Contact Name |  |  |  |  | Gas Utility Metering Structure
Project Contact Email
Project Contact Phone Number
This section must be completed for funding amounts to populate.
Number of Buildings
Number of Units
Space Heating Fuel
Water Heating Fuel
Total Funding Amount: (Residential Max $3,000/Unit; Commercial Max $3,000/Building) Only enter information in non-shaded cells in columns B, D, E & F. |  |  |  |  | Total: | 0 | 0
Measure Category | Measure Description | Measure Specification Minimum | Residential Quantity | Commercial Quantity | Construction Cost | Residential Funding Amount | Commercial Funding Amount | Residential kWh Savings | Residential Therm Savings | Commercial kWh Savings | Commercial Therm Savings | Expected Useful Life
Ventilation | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
Appliances | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
DHW | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
Fenestration | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
HVAC | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
Insulation | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
Other | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
Project Notes:

## Measure List
MEEHA Prescriptive High Performance Measure Incentives
Measure | Minimum Efficiency Rating | Incentive Amount (per unit unless otherwise stated)
Ventilation
Energy Recovery Ventilator | Energy Star Rated (Unit ventilation must meet current ASHRAE ventilation standards) | 350
Bath Fan | 2.8 CFM/Watt < 90 CFM (Unit ventilation must meet current ASHRAE ventilation standards) | 100
Kitchen Fan | 2.8 CFM/Watt > 75 CFM (Unit ventilation must meet current ASHRAE ventilation standards) | 100
Appliances
Whole Home Dehumidifier | 2.35 IEF | 400
Dishwasher | 240 kWh/yr | 300
Refrigerator | 363 kWh/yr | 400
Domestic Hot Water
Heat Pump Water Heater | 2.20 UEF | 1100
Gas Water Heater (Storage) | .64 UEF | 500
Gas Water Heater (Instantaneous) | 0.87 UEF | 800
Fenestration
Windows | 0.23 U-Value and 0.23 SHGC | $350 / window
HVAC
Condensing Unit | 18 SEER | 950
Furnace | 95% AFUE | 1200
Heat Pump (Split System) | 9 HSPF, 18 SEER | 2400
Heat Pump (Packaged System) | 8.2 HSPF 15 SEER 12 EER | 800
Ground Source Heat Pump | 17.1 EER 3.6 COP | 2500
Insulation
Attic Insulation | R-60 | $1.35 / Sq Ft
Wall Insulation | R-25 or R-19 with R-5 continuous | 200
Other
Advanced Framing, Structural Integrated Panels, or Insulated Concrete Forms | As Defined by Energy Star Rater Field Checklists for above grade walls | 150

## Sheet2 (hidden)
Drop down lists
Measure Categories | Appliances | DHW | Fenestration | HVAC | Insulation | Other
Applinaces | Energy Recovery Ventilator | Heat Pump DHW | Windows | Condensing Unit (Split System) | Attic Insulation (square feet of attic) | Advanced Framing, Structural Integrated Panels, or Insulated Concrete Forms (per unit)
DHW | Bath Fan | Gas Storage DHW |  | Furnace (Split System) | Wall Insulation (per unit)
Fenestration | Kitchen Fan | Gas On Demand DHW |  | Heat Pump (Split System)
HVAC | Dehumidifier |  |  | Heat Pump (Packaged System)
Insulation | Dishwasher |  |  | Heat Pump (Ground Source)
Other | Refrigerator
| cost | kWh/unit elec | kwh with gas heat | Therm/unit elec | therm/unit gas heat | Electric
ERV / HRV | 350 | 340 | 55 | 0 | 9.7 | Gas
Bath Fan | 100 | 14.7 | 14.7 | 0 | 0
Kitchen Fan | 100 | 39 | 39 | 0 | 0
Dehumidifier | 400 | 159 | 159 | 0 | 0
Dishwasher | 300 | 37 | 16 | 0 | 0.9
Refrigerator | 400 | 88 | 88 | 0 | 0
Heat Pump DHW | 1100 | 1609 | 1876 | 0 | -26
Gas Storage DHW | 500 | 0 | 0 | 14 | 14
Gas On Demand DHW | 800 | 0 | 0 | 40 | 40
Windows | 350 | 45 | 4.6 | 0 | 0.53
Condensing Unit (Split System) | 950 | 155 | 155 | 0 | 0
Furnace (Split System) | 1200 | 0 | 0 | 60 | 60
Heat Pump (Split System) | 2400 | 565 | 565 | 0 | 0
Heat Pump (Packaged System) | 800 | 355 | 355 | 0 | 0
Heat Pump (Ground Source) | 2500 | 2013 | 828 | 0 | 64
Attic Insulation (square feet of attic) | 1.35 | 0.17 | 0.17 | 0 | 0.07
Wall Insulation (per unit) | 200 | 31.3 | 18.4 | 0 | 1.3
Advanced Framing (per unit) | 150 | 3.67 | 1.8 | 0 | 1.3
Individual | BGE | Washington Gas | Other | N/A
Master | PEPCO
Mixed | Potomac Edison
N/A | DELMARVA
SMECO